## adult pre-op
ADULT DATA SHEET
Patient name | Juan Gonzalez
Operation | AVR |  | M 301 suggested | 2001-08-14
Surgeon | Dr. D | Have VAVD available.
Date of surgery | 2001-08-14 | O.R.# (circle) | 1 2 4 5 12
Age | 69
Sex | M |  | AM TF PM StBy
Height | 169.2
Weight | 119.5 | Autologous priming? | YES [ ] NO [ ]
Estimated hematocrit | 40 | Limited use Cell Saver? | YES
Circuit used | M 301 Circuit | <<Choose M 301, if used
Prior CABG | No | Redo? | YES [ ] NO [ ]
Heparin, 400 u per kg | 47800 | If YES: prior heart surgery:
B.S.A. | 2.2638 | Circulatory arrest? | YES [ ] NO [ ]
| Index L/min | If YES: 20% Mannitol: 2.5 ml per kg | 298.75
| 3.6221 | Retrograde cerebral perfusion? | YES [ ] NO [ ]
| 4.9804 | Other pertinent data:
5.8859
7.2442
Suggested I.A.B. size | 40 cc | Cardiologist: Dr. | Patient blood volume:
ESTIMATED HEMATOCRITS ON CPB |  | HEMATOCRIT FACTORS | 7367.4338
Without intervention | 27.8873 | 0.69718 | Body mass index:
Autologous priming* | 30.0178 | 0.75044 | 41.7373
Sequest 600 ml blood** | 25.6162 | 0.6404 | Body mass type:
Autoprime + sequester | 27.5731 | 0.68933 | Obese
Add one unit RBC's*** | 29.4487 | *Autologous priming factor assumes removal of 750 ml. from an M 301 circuit, and 600 ml. from an SX 10 circuit.
Add two units RBC's*** | 31.0101
Supply List |  | **The blood sequestration factor assumes replacement with 600 ml. of crystalloid.
Dr. D: AVR |  | ***Adding R.B.C.'s assumes that an equal volume of prime is removed.
Aspiration/Anticoagulation Assembly
Cardioplegia On-Table Line |  |  | C.A.B.G.
8.0 mm Soft-Flow Aortic Cannula |  | VARIABLE: Points | FATAL L.O.F. SCORE
29/29 Dual Stage Venous Cannula |  | Age 70 to 79 years: 1.5 | 0
1/2 x 3/8 LL Connector |  | Age 80 years or more: 3.0 | 0
RC-014-IT Retroplegia Cannula |  | Female: 1.5 | 0
Cardioplegia "Y" Adapter |  | Prior CABG 1.5 | 0
Aortic Root Vent Cannula |  | Emergent: comes directly to sugery: 6.0
Vacuum Relief Valve |  | Urgent: cannot leave the hospital: 2.0
Supplementary Suction Line |  | Ejection fraction <40 %: 2.5
E 060 Left Heart Vent |  | Three-vessel disease: 1.5
Gas Line Filter |  | Diabetes: on insulin or oral agent: 1.5
Ross: Bicaval TF's, Parallel Y |  | P.V.D. with sequelae*: 2.5
& Right Angle Sump |  | Renal failure: dialysis (either type): 3.0
Ostial Cannalae (available) |  | 0-3.9: Blue 4-6.9: Yellow 7+: Red | TOTAL:
*Peripheral Vascular Disease: a) cerebrovascular disease: prior CVA, prior TIA, prior carotid surgery, carotid stenosis by history or radiographic studies, or carotid bruit; as b) lower extremity (LE) disease: claudication, amputation, prior lower extremity bypass, absent pedal pulses or lower extremity ulcers.
FACTOR | M 301 CIRCUIT | SX 10 CIRCUIT | BLOOD VOLUME
ADULT MALE | 0.70317 | 0.7613 | 7367.4338
ADULT FEMALE | 0.66199 | 0.72733 | 5895.0019
PEDI (<142 Cm. or <45 Kg). | 0.74374 | 0.8001 | 8445.4474

## lists
Operation | Surgeon | [47 empty] | 2001-08-14
CAB | Dr. A | Dr. A: CAB | Dr. B: CAB | Dr. C: CAB | Dr. D: CAB | Dr. E: CAB | Dr. F: CAB | Dr. G: CAB | Dr. H: CAB | Dr. I: CAB | Dr. A: AVR | Dr. B: AVR | Dr. C: AVR | Dr. D: AVR | Dr. E: AVR | Dr. F: AVR | Dr. G: AVR | Dr. H: AVR | Dr. I: AVR | Dr. A: ASD | Dr. B: ASD | Dr. A: MVR | Dr. B: MVR | Dr. C: MVR | Dr. D: MVR | Dr. E: MVR | Dr. F: MVR | Dr. G: MVR | Dr. H: MVR | Dr. I: MVR | Dr. A: CAB, ? AVR | Dr. B: CAB, ? AVR | Dr. C: CAB, ? AVR | Dr. D: CAB, ? AVR | Dr. E: CAB, ? AVR | Dr. F: CAB, ? AVR | Dr. G: CAB, ? AVR | Dr. H: CAB, ? AVR | Dr. I: CAB, ? AVR | Dr. A: CAB, ? MVR | Dr. B: CAB, ? MVR | Dr. C: CAB, ? MVR | Dr. D: CAB, ? MVR | Dr. E: CAB, ? MVR | Dr. F: CAB, ? MVR | Dr. G: CAB, ? MVR | Dr. H: CAB, ? MVR | Dr. I: CAB, ? MVR
AVR | Dr. B | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly | Aspiration/Anticoagulation Assembly
ASD | Dr. C | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line | Cardioplegia On-Table Line
MVR | Dr. D | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 7.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula | 8.0 mm Soft-Flow Aortic Cannula
CAB, ? AVR | Dr. E | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 2-28 Fr Rt Ang Venous Cannulae | dlp 28 Fr Rt Ang Venous Cannula | 36 Fr Rt Ang TF Venous Cannula | Aortic Root Vent Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 29/29 Dual Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | 36-46 Two-Stage Venous Cannula | ? 36-46 Two-Stage Venous Cannula | ? 36-46 Two-Stage Venous Cannula | ? 29/29 Dual Stage Venous Cannula | ? 29/29 Dual Stage Venous Cannula | ? 36-46 Two-Stage Venous Cannula | ? 36-46 Two-Stage Venous Cannula | RC-014-IT Retroplegia Cannula | ? 36-46 Two-Stage Venous Cannula | ? 36-46 Two-Stage Venous Cannula
CAB, ? MVR | Dr. F | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 28 Fr Rt Ang Venous Cannula | 28 Fr Rt Ang Venous Cannula | 40 Fr TF Venous Cannula | 40 Fr TF Venous Cannula | 40 Fr TF Venous Cannula | 40 Fr TF Venous Cannula | 40 Fr Rt Ang TF Venous Cannula | 1/2 x 3/8 X 3/8, Non-parallel Y | TF040L90 Venous Cannula | 40 Fr Rt Ang TF Venous Cannula | 28 Fr Rt Ang Venous Cannula | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 3/8 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | 1/2 x 1/2 LL Connector | ? 1/2 x 1/2 LL Connector | ? 1/2 x 1/2 LL Connector | ? 1/2 x 3/8 LL Connector | ? 1/2 x 3/8 LL Connector | ? 1/2 x 1/2 LL Connector | ? 1/2 x 1/2 LL Connector | Cardioplegia "Y" Adapter | ? 1/2 x 1/2 LL Connector | ? 1/2 x 1/2 LL Connector
| Dr. G | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC2-012 Retroplegia Cannula | RC-014 Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC2-012 Retroplegia Cannula | RC-014 Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | 1/2 x 3/8 X 3/8, Non-parallel Y | 1/2 x 3/8 X 3/8, Non-parallel Y | 1/2 x 3/8 X 3/8, Non-parallel Y | 1/2 x 3/8 X 3/8, Non-parallel Y | Stylette | 1/2 x 3/8 X 3/8, Non-parallel Y | 1/2 x 3/8 X 3/8 Parallel Y | RC-014 Retroplegia Cannula | 1/2 x 3/8 X 3/8, Non-parallel Y | 1/2 x 3/8 X 3/8, Non-parallel Y | 40 Fr TF Venous Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC2-012 Retroplegia Cannula | RC-014 Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC2-012 Retroplegia Cannula | RC-014 Retroplegia Cannula | Aortic Root Vent Cannula | ? 36 Fr Rt Ang TF Venous Cannula | RC-014-IT Retroplegia Cannula
| Dr. H | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | ? RC-014-IT Retroplegia Cannula | ? RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | 1/2 x 3/8 X 3/8 Parallel Y | RC-014-IT Retroplegia Cannula | Pericardial (weighted) Sump | Cardioplegia "Y" Adapter | RC-014-IT Retroplegia Cannula | RC-014-IT Retroplegia Cannula | Stylette | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | Cardioplegia "Y" Adapter | Vacuum Relief Valve | ? 40 Fr Rt Ang TF Venous Cannula | Turkey-Foot Adapter
| Dr. I | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Vacuum Relief Valve | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula |  | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Vacuum Relief Valve | Curved Left Heart Vent | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Curved Left Heart Vent | ? Cardioplegia "Y" Adapter | ? Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | Cardioplegia "Y" Adapter | RC-014-IT Retroplegia Cannula | Cardioplegia "Y" Adapter | Supplementary Suction Line | Right Angle Sump | Cardioplegia "Y" Adapter | Turkey-Foot Adapter | 1/2 x 3/8 X 3/8 Parallel Y | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Vacuum Relief Valve | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | ? Vacuum Relief Valve | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Vacuum Relief Valve | Aortic Root Vent Cannula | Supplementary Suction Line | ? 1/2 x 3/8 X 3/8, Non-parallel Y | ? Vacuum Relief Valve
|  | Vacuum Relief Valve |  | Vacuum Relief Valve | Vacuum Relief Valve | Gas Line Filter | Vacuum Relief Valve | Vacuum Relief Valve |  |  | Curved Left Heart Vent | E 063 Left Heart Vent | Vacuum Relief Valve | Vacuum Relief Valve | Gas Line Filter | Gas Line Filter | Vacuum Relief Valve | Turkey-Foot Adapter | Vacuum Relief Valve | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Aortic Root Vent Cannula | Cardioplegia "Y" Adapter | Aortic Root Vent Cannula | RC2-012 Retroplegia Cannula | Pericardial (weighted) Sump | Aortic Root Vent Cannula | Aortic Root Vent Cannula | RC-014-IT Retroplegia Cannula | Vacuum Relief Valve | ? E 063 LV Sump | Vacuum Relief Valve | Vacuum Relief Valve | Gas Line Filter | Vacuum Relief Valve | Vacuum Relief Valve | ? LV Sump | ? Curved Left Heart Vent | ? 28 Fr Rt Ang Venous Cannula | ? 28 Fr Rt Ang Venous Cannula | Vacuum Relief Valve | Vacuum Relief Valve | Gas Line Filter | Vacuum Relief Valve | ? 13 Fr Pediatric Left Heart Vent (CAB) | ? Supplementary Suction Line | ? Aortic Root Vent Cannula
[8 empty] | 13 Fr Pediatric Left Heart Vent |  |  | Supplementary Suction Line | Supplementary Suction Line | Supplementary Suction Line | Supplementary Suction Line | Supplementary Suction Line | Aortic Root Vent Cannula | Curved Left Heart Vent | Supplementary Suction Line | Ostial Cannalae (available) | Supplementary Suction Line | Supplementary Suction Line | Supplementary Suction Line | E 063 Left Heart Vent | Aortic Root Vent Cannula | Vacuum Relief Valve | Turkey-Foot Adapter | Gas Line Filter | Vacuum Relief Valve | Supplementary Suction Line | Turkey-Foot Adapter | ? E 60 LV Sump | ? Supplementary Suction Line | ? Supplementary Suction Line | ? Supplementary Suction Line | ? Supplementary Suction Line | ? Curved Left Heart Vent | Supplementary Suction Line | ? Supplementary Suction Line | Ostial Cannalae (available) | ? 40 Fr TF Venous Cannula | ? 40 Fr TF Venous Cannula | ? 28 Fr Rt Ang Venous Cannula | ? 28 Fr Rt Ang Venous Cannula | IVC: ? VR036-50-120 | ? 2-28 Fr Rt Ang Venous Cannulae | ? 36-46 Two-Stage Venous Cannula | ? Pericardial (weighted) Sump | ? 28 Fr Rt Ang Venous Cannula
[8 empty] | Supplementary Suction Line |  |  | Gas Line Filter | Gas Line Filter | E 063 Left Heart Vent | E 060 Left Heart Vent | E 063 Left Heart Vent | Vacuum Relief Valve | Supplementary Suction Line | ask about Left Heart Sump |  | Pericardial (weighted) Sump | Pericardial (weighted) Sump | Pericardial (weighted) Sump | Supplementary Suction Line | Vacuum Relief Valve | Baxter E060 17 Fr. Vent | Vacuum Relief Valve | Aortic Root Vent Cannula | Supplementary Suction Line | ? Pericardial (weighted) Sump | Tissue: Curved, Mechan: Rt Ang Sump | ? Supplementary Suction Line | ? Pericardial (weighted) Sump | ? E063 LV Sump | ? Pericardial (weighted) Sump | ? Curved Left Heart Vent | ? Gas Line Filter | ? 13 Fr Pediatric Left Heart Vent | ? Gas Line Filter |  | ? 1/2 x 3/8 X 3/8, Non-parallel Y | ? 1/2 x 3/8 X 3/8, Non-parallel Y | ? 40 Fr TF Venous Cannula | ? 40 Fr TF Venous Cannula | SVC: ? 28 Fr Rt Ang Venous Cannula | ? 1/2 x 3/8 X 3/8, Non-parallel Y | ? 1/2 x 1/2 LL Connector | ? LV Sump | ? 40 Fr TF Venous Cannula
[11 empty] | Vacuum Relief Valve | Ostial Cannalae (available) | Gas Line Filter | Gas Line Filter | Ostial Cannalae (available) | Ostial Cannalae (available) | Gas Line Filter | Gas Line Filter |  | Gas Line Filter | Gas Line Filter | Gas Line Filter | Pericardial (weighted) Sump | Pericardial (weighted) Sump | Supplementary Suction Line | Gas Line Filter | Vacuum Relief Valve | Pericardial (weighted) Sump | ? Left Heart Sump | Supplementary Suction Line | ? Gas Line Filter | ? Gas Line Filter | ? Gas Line Filter | ? E060 LV Sump | Ostial Cannalae (available) | Ostial Cannalae (available) | ? Curved Left Heart Vent | Ostial Cannalae (available) |  | ? Supplementary Suction Line | ? E 063 Left Heart Vent | ? Stylette | ? 1/2 x 3/8 X 3/8, Non-parallel Y | ? 1/2 x 3/8 X 3/8 Parallel Y | ? Right Angle Sump | ? 28 Fr Rt Ang Venous Cannula | RC-014-IT Retroplegia Cannula | ? Stylette
[11 empty] | Ostial Cannalae (available) | ? Pericardial (weighted) Sump | Ostial Cannalae (available) | Ross: Bicaval TF's, Parallel Y |  |  | Ostial Cannalae (available) | Ostial Cannalae (available) |  | Vacuum Relief Valve |  | Vacuum Relief Valve | Gas Line Filter | Supplementary Suction Line | Pericardial (weighted) Sump |  |  | Gas Line Filter | Gas Line Filter | Pericardial (weighted) Sump | Ostial Cannalae (available) | Ostial Cannalae (available) | Ostial Cannalae (available) | ? Gas Line Filter |  |  | ? Gas Line Filter |  |  | ? Pericardial (weighted) Sump | ? Supplementary Suction Line | ? 1/2 x 3/8 X 3/8 Parallel Y | ? E060 Sump | ? Pericardial (weighted) Sump | ? Pericardial (weighted) Sump | ? TF040L90 Venous Cannula | Turkey-Foot Adapter | ? 1/2 x 3/8 X 3/8 Parallel Y
[14 empty] | & Right Angle Sump | [9 empty] | Gas Line Filter | Gas Line Filter |  |  |  |  | Vacuum Relief Valve |  |  |  | Ross:? Bicaval TF's, Parallel Y, Rt. Angle Sump |  |  | Ostial Cannalae (available) |  |  | ? Gas Line Filter | ? Pericardial (weighted) Sump | ? Pericardial (weighted) Sump | ? Supplementary Suction Line | ? Supplementary Suction Line | ? Gas Line Filter | ? 1/2 x 3/8 X 3/8, Non-parallel Y | Aortic Root Vent Cannula | ? Curved Sump (tissue valve)
[14 empty] | Ostial Cannalae (available) | [19 empty] | Ostial Cannalae (available) | [5 empty] | Vacuum Relief Valve | ? Gas Line Filter | ? Supplementary Suction Line | ? Pericardial (weighted) Sump | ? Aortic Root Vent Cannula |  | ? Pericardial (weighted) Sump | ? Gas Line Filter | ? Rt Ang Sump (mechanical valve)
[42 empty] | ? Gas Line Filter |  |  |  | ? Gas Line Filter |  | ? Supplementary Suction Line
? Pericardial (weighted) Sump

## pedi pre-op
PEDIATRIC DATA SHEET
| Patient name | Boy Lopez |  | Cannulation? bicaval single |  |  | 2001-08-14
| Operation | Norwood Stage 1 |  |  | Sump?
| Surgeon | A |  | Hypothermia technique
| Date of surgery | 2001-07-20 |  | Desired Hct on CPB?
| Age | 2 day |  |  | Separation Hct?
| Height | 49 |  | Cardioplegia? Yes No
| Weight | 2.5 |  | Drugs?
| Hematocrit | 49 |  | Monitored pressures |  | LA CVP
| Minimum desired hematocrit | 30 |  |  | Estimated Hct w/o cells | 17.1533
| SUGGESTED | USED: |  |  | Required packed RBC's | 143.7545
Oxygenator | Lilliput 1 | Lilliput 1 |  |  | Estimated Hct w/o cells factor | 0.35007
Tubing pack | Micro | Micro
|  |  |  | Arterial filter | CX*AF02
|  |  |  | Aortic cannula | dlp 8 Fr | & 3/16 x 3/16 LL
Heparin doses |  |  |  | Micro venous line connector: | 1/4 x 3/16 LL
Load: 300 u. per kg | 0.75 |  |  | If single venous cannula: | 16 TF
Suppl.: 100 u. per kg | 0.25 |  |  | If bicaval venous cannulae: | + 1/4 Y & short 1/4 ID tubing
q 30 min: 50 u. per kg | 0.125 |  |  | Gas filter for CO2
Cardioplegia dose | 62.5 |  | Prime drugs
|  |  | Mannitol 25%, 2.8 ml per kg | 7
B.S.A. | 0.17819 |  | Albumin, 25% | 50 ml
ml/kg | L/min | Index | Na HCO3 | 3 ml
10 | 0.025 | 0.1403 | Heparin | 1 ml
20 | 0.05 | 0.2806 | Packed RBC's | 143.7545
30 | 0.075 | 0.4209
40 | 0.1 | 0.5612
50 | 0.125 | 0.7015 | Possible other drugs
60 | 0.15 | 0.8418 | Lidocaine (2 mg per kg) | 5 | 0.25
70 | 0.175 | 0.9821 | Mg SO4 (20 mg per kg) | 50 | 0.1
80 | 0.2 | 1.1224 | Aprotinin (5.6 mg per kg) | 14 | 10
90 | 0.225 | 1.2627 | Amicar (75 mg per kg) | 187.5 | 0.75
100 | 0.25 | 1.403 | Cefazolin (25 mg per kg) | 62.5
110 | 0.275 | 1.5433 | Vancomycin (10 mg per kg) | 25
120 | 0.3 | 1.6836
130 | 0.325 | 1.8239 | Red cell volume | 105.5693
140 | 0.35 | 1.9642 | Required red cell volume | 184.6343
150 | 0.375 | 2.1045
160 | 0.4 | 2.2448
170 | 0.425 | 2.3851
180 | 0.45 | 2.5254
190 | 0.475 | 2.6657 | Blood volume | 215.4475
200 | 0.5 | 2.806
+ Prime volume
MUF:
Desired Hct 30 - actual Hct ______ / actual Hct ______ x total volume __________ = _________ | [5 empty] | for 30
Desired Hct 35 - actual Hct ______ / actual Hct ______ x total volume __________ = _________ | [5 empty] | for 35
Desired Hct 40 - actual Hct ______ / actual Hct ______ x total volume __________ = _________ | [5 empty] | for 40
OXYGENATOR | Tube Pack | PRIME | IV's + crst 'plege | TOT
Lilliput 1 | Micro | 250 | 150 | 400
Lilliput 1 | Neo | 295 | 200 | 495
Lilliput 1 | Inf | 500 | 250 | 750
Lilliput 2 | Inf | 550 | 300 | 850
SX 10 | Pedi | 1107 | 700 | 1807
M301 | Adult | 1700 | 1000 | 2700

## pedi drugs
|  | Patient: | Boy Lopez |  |  | Weight: | 2.5 |  | 2001-08-14
PRE BYPASS
VANCOMYCIN:10mg/kg |  |  |  | 2 doses |  |  |  | 25
ANCEF (calc. based on 1,000 mg vial diluted with ten ml NaCl sol. : 100 mg/ml)
| (25 mg x kg)/100= ml |  |  | 3 doses |  | 0.625 |  | 62.5
HEPARIN (calc. based on 10,000 units/10ml : 1,000 units/ml)
| 300 units per kg |  |  |  |  | 0.75 |  | 750
AMICAR
| Anes. Load: [(75 mg x kg)/40]= rate |  |  |  |  | 4.6875 |  | 187.5
| Main: (15 mg x kg)/40= rate |  |  |  |  | 0.9375 |  | 37.5
| Perf: (75 mg x kg)/250= ml |  |  | from bottle |  | 0.75 |  | 187.5
APROTININ (calc. based on 280 mg/200 ml bottle: 1.4 mg/ml)
| Anes. Load:[(5.6 mg x kg)/1.4]=dose |  |  |  |  | 10 |  | 14
| Maint: (2.8 mg x kg/1.4)=rate |  |  | 2 ml/kg/hr |  | 5 |  | 7
| Perf:[(5.6 mg x kg)/1.4]=dose |  |  |  |  | 10 |  | 14
*Aprotinin infusion pump settings: |  |  |  |  | Rate=2 x Load or | 20
[5 empty] | V.I.= Load: | 10
[5 empty] | When V.I. is completed, switch to maintenance rate: | 5
DURING BYPASS
MAGNESIUM SULFATE (calc. based on 2 Gm/2 ml vial, 500 mg/ml)
| (20 mg x kg)/500= ml |  |  |  |  | 0.1 |  | 50
LIDOCAINE (calc. based on 100 mg/5 ml, 20 mg/ml)
| (2 mg x kg)/20 |  |  |  |  | 0.25 |  | 5
CARDIOPLEGIA DOSE | [5 empty] | 62.5
AFTER BYPASS
MILRINONE:
| Anes. Load: 50 mcg per kg/200=ml |  |  |  |  | 0.625 |  | 125
| Main: 0.5mcg/kg/min | [6 empty] | 1.25
AMRINONE (calc. based on 100 mg/20 ml vial: 5 mg/ml)
| Anes Load:(1.2 to 2 mg x kg)/5= ml |  |  |  | 1.2 mg/kg: | 0.6 |  | 3
[5 empty] | 2 mg/kg: | 1 |  | 5
ISOPROTERINOL:
| (0.15 mg x kg)/0.2= ml |  |  |  |  | 1.875 |  | 0.375
DOPAMINE: (calc based on 80 mg/100 ml D5W, 0.8 mg/ml)
Obtain drug print-out from HP monitor for patient weight.
LEVOPHED: (calc based on 1 mg/100 ml D5W, 10 mcg/ml)
Obtain drug print-out from HP monitor for patient weight.
PROSTAGLANDIN E (calc based on 500 mcg/1 ml vial in 500 ml D5W)
Run at (0.02 to 0.1 mcg x kg) x 60= rate
Increase rate by 0.005 up to 0.3. If no response discontinue use
|  |  |  | 0.02 mcg/ kg: |  | 3 |  | 0.05
|  |  |  | 0.1 mcg/kg: |  | 15 |  | 0.25

## DHCA
|  | Patient: | Boy Lopez | Weight: | 2.5 |  | 2001-08-14
These meds are to be administered by the anesthesiologist
SOLUMEDROL: 10 to 30 mg/kg= # mg |  |  |  | 25 | to | 75
PENTOTHAL: 3 to 5 mg/ kg= # mg |  |  |  | 7.5 | to | 12.5
MAGNESIUM SULFATE:
| 20 mg/ kg |  |  | 0.1 |  | 50
ICE BAGS ON HEAD
This med is to be administered by the perfusionist (PRN)
MANNITOL: 2 ml/kg |  |  |  | 5

## rounds
OR 1 AM SDA IP: Transf |  | OR 1 PM SDA IP: Transf |  | 2001-08-14
PATIENT |  | PATIENT
OPERATION |  | OPERATION
SURGEON | Dr. | SURGEON | Dr.
DATE OF SURGERY |  | DATE OF SURGERY
AGE |  | AGE
SEX |  | SEX
HEIGHT IN CM. |  | HEIGHT IN CM.
WEIGHT IN KG. |  | WEIGHT IN KG.
HEMATOCRIT (%) |  | HEMATOCRIT (%)
OTHER |  | OTHER
OR 2 AM SDA IP: Transf |  | OR 2 PM SDA IP: Transf
PATIENT |  | PATIENT
OPERATION |  | OPERATION
SURGEON | Dr. | SURGEON | Dr.
DATE OF SURGERY |  | DATE OF SURGERY
AGE |  | AGE
SEX |  | SEX
HEIGHT IN CM. |  | HEIGHT IN CM.
WEIGHT IN KG. |  | WEIGHT IN KG.
HEMATOCRIT (%) |  | HEMATOCRIT (%)
OTHER |  | OTHER
OR 4 AM SDA IP: Transf |  | OR 4 PM SDA IP: Transf
PATIENT |  | PATIENT
OPERATION |  | OPERATION
SURGEON | Dr. | SURGEON | Dr.
DATE OF SURGERY |  | DATE OF SURGERY
AGE |  | AGE
SEX |  | SEX
HEIGHT IN CM. |  | HEIGHT IN CM.
WEIGHT IN KG. |  | WEIGHT IN KG.
HEMATOCRIT (%) |  | HEMATOCRIT (%)
OTHER |  | OTHER
OR 5 AM SDA IP: Transf |  | OR 5 PM SDA IP: Transf
PATIENT |  | PATIENT
OPERATION |  | OPERATION
SURGEON | Dr. | SURGEON | Dr.
DATE OF SURGERY |  | DATE OF SURGERY
AGE |  | AGE
SEX |  | SEX
HEIGHT IN CM. |  | HEIGHT IN CM.
WEIGHT IN KG. |  | WEIGHT IN KG.
HEMATOCRIT (%) |  | HEMATOCRIT (%)
OTHER |  | OTHER