## Sheet1
hospital logo
PERFUSION RECORD
DATE |  |  |  |  | OR# |  | CASE# |  |  |  | PAGE of
PRE-OP DIAGNOSIS | [13 empty] | HISTORY
PROCEDURE | [13 empty] | ALLERGY:
[14 empty] | PRE-OP |  |  | BUN |  |  | mg/dl |  | CREAT |  |  | mg/dl |  | ALBUMIN |  | gm/dl
[14 empty] | LABS |  |  | aPT |  |  |  | sec | aPTT |  |  |  | sec | PLATELETS |  |  | k/ul
PATIENT |  |  | HT |  |  |  | WT |  |  |  |  | BSA |  |  |  | GENDER | [5 empty] | AGE |  |  |  |  | BLOOD TYPE
DATA |  |  |  |  | CM | [5 empty] | KG |  |  |  | M2 |  |  |  | M |  | F
PERSONNEL
PERFUSIONIST | [6 empty] | PERFUSIONIST | [7 empty] | SURGEON | [8 empty] | ANESTHESIOLOGIST
DISPOSABLES | [5 empty] | MODEL |  |  |  |  | SERIAL NO |  |  |  | DISPOSABLES | [6 empty] | MODEL |  |  |  |  | SIZE
OXYGENATOR | [14 empty] | ART CANNULA
VENOUS RES | [14 empty] | VEN CANNULA
CARDIOTOMY RES | [14 empty] | VEN CANNULA
TUBING PACK | [14 empty] | CARDIOPLEGIA CANN
ARTERIAL FILTER | [14 empty] | VENT
CENTRIFUGAL PUMP | [14 empty] | EQUIPMENT | [6 empty] | MODEL |  |  |  |  | SERIAL NO / I.D. NO
AUTOTRANSFUSION SET | [14 empty] | PUMP CONSOLE
CARDIOPLEGIA SET | [14 empty] | ARTERIAL PUMP
HEMOCONCENTRATOR | [14 empty] | HEATER/COOLER
IABP |  |  |  | VAD |  |  | ECLS |  |  |  | INOTROPES |  |  |  | AUTOTRANS DEVICE
PRE-CPB |  |  |  | YES |  |  | YES |  |  |  | YES |  |  |  | ACT ANALYZER
POST-CPB |  |  |  | NO |  |  | NO |  |  |  | NO |  |  |  | BLOOD GAS ANALYZER
NO | [14 empty] | O2 ANALYZER
CARDIOPLEGIA
TIME |  |  | TEMP |  |  |  | SITE |  |  | PRESSURE |  |  | RATIO |  | FORMULA |  |  | AMOUNT |  |  |  | COMMENTS
|  |  | oC | [7 empty] | mm Hg | [7 empty] | CC
|  | infusion |  | myo |  | Ao | SVG | CS | OS | line |  | sinus |  |  | Hi | Lo | 0
SUMMARY
| Pump Time |  |  | X-clamp time |  |  |  |  | Cell Salvage vol | [5 empty] | Field 1 |  |  |  |  | Field 2 |  |  |  |  | Field 3 |  |  | Field 4
Signature:
[14 empty] | Checklist complete | [8 empty] | Time

## Sheet1 (2)
addressograph / patient ID
PERFUSION RECORD
Date | [7 empty] | Page |  |  | of
Pre-op/ |  | TIME |  |  |  | Pre-CPB | ON | [22 empty] | COMMENTS
Baseline |  |  | ----> |  |  | PostHep
Pump |  | RPM
/ |  | Flow / Index
Press |  | LinePress
(mmHg) |  | MAP
PAD / CVP
Gas |  | FiO2 %
Flow L/m
Anesth %
In-line |  | SvO2 %
Temp |  |  |  | / |  |  | / |  |  | / | / |  | / |  | / |  |  | / |  |  | / |  | / | / |  | / | / |  | /
oC |  |  |  | / |  |  | / |  |  | / | / |  | / |  | / |  |  | / |  |  | / |  | / | / |  | / | / |  | /
|  | 1=arterial |  |  |  | 2=venous |  |  | 3=bladder |  |  | 4=nasopharyngeal | [7 empty] | 5=esophageal |  |  |  |  | 6=rectal |  |  | 7=water
Labs |  | pH |  |  | A
V
|  | pCO2 |  |  | A
V
|  | pO2 |  |  | A
V
|  | HCO3/ |  |  | A
|  |  | BE |  | V
|  | Sat |  |  | A
|  |  |  | % | V
K+
Hct / Hgb
Glucose
iCa / Na+
ACT
Fluid |  | Crystalloid
Colloid
cc's |  | Blood
Urine
Hemoconc
Drugs |  | HCO3
Heparin
Mannitol
CaCl2
Lidocaine
Pressor
|  | Dilator | [27 empty] | Perfusionist initial
BANK BLOOD | [7 empty] | HEPARIN | [8 empty] | PUMP | [7 empty] | CLAMP | [5 empty] | Index / FLOW
time |  |  | S/N |  |  |  | initial dose | [6 empty] | u |  | on | [5 empty] | on |  |  | on |  |  | on |  |  | 1.5
[16 empty] | off | [5 empty] | off |  |  | off |  |  | off |  |  | 1.8
[7 empty] | time given | [8 empty] | min | [5 empty] | min |  |  | min |  |  | min |  |  | 2.1
[16 empty] | TOTAL | [8 empty] | TOTAL | [5 empty] | 2.4
[7 empty] | TOTAL | [6 empty] | u | [16 empty] | 2.7

## Sheet2
[5 empty] | UNITS OF MEASURE |  |  |  |  | CARDIOPLEGIA FORMULAE
[example]
ABBREVIATIONS | [5 empty] | Flow | L/min |  |  |  | HIGH |  | Plegisol (1000cc)
[6 empty] | Pressures | mmHg | [5 empty] | 100 mEq KCL
| ALP | Arterial line pressure |  |  |  | FiO2 | percent | [5 empty] | 20 mEq Bicarb
| A / V | Arterial / venous |  |  |  | Anesthesia | percent | [5 empty] | 45 u Insulin
| Ao | Aortic root |  |  |  | SvO2 | percent
| SVG | Saphenous vein graft | [8 empty] | LOW |  | Plegisol (1000cc)
| CS | Coronary sinus |  |  |  | Bicarb | mEq | [5 empty] | 50 mEq KCl
| OS | Coronary ostia |  |  |  | Heparin | units | [5 empty] | 20 mEq Bicarb
[6 empty] | Mannitol | grams | [5 empty] | 45 u Insulin
[6 empty] | CaCl | grams
[6 empty] | Lidocaine | mgrams
NORMAL VALUES |  | (per clinical lab)
| pH Art | 7.35 - 7.45
| pH Ven | 7.32 - 7.42
| paO2 | 100-250 | mmHg |  |  | K+ | 3.5 - 5.0 |  | mEq/L
| pvO2 | 35 - 45 | mmHg |  |  | Glucose | 90 - 120 |  | gm/dl
| paCO2 | 35 - 45 | mmHg |  |  | iCalcium | 0.9 - 1.1 |  | mOsm
| pvO2 | 40 - 50 | mmHg |  |  | Sodium | 135 - 145 |  | mEq/L
| HCO | 22 - 26 | mEq/L |  |  | non-Hep ACT | 90 - 110 |  | sec
| BE | -2 |  |  |  | Hematocrit | 38 - 42 |  | percent
| SaO2 | 90 - 100 | percent |  |  |  | (per protocol)
| SvO2 | 60 - 90 | percent |  |  | Target Hep ACT | > 480 |  | sec
PRE-BYPASS CHECKLIST
| PATIENT |  |  | GAS SUPPLY | [6 empty] | SAFETY MECHANISMS
| Chart reviewed |  |  | Gas line securely connected | [6 empty] | Operational and engaged
| Procedure reviewed |  |  | Flow meter / blender functional | [6 empty] | Arterial filter/bubble trap de-bubbled
|  |  |  | Hoses leak-free | [6 empty] | Cardiotomy reservoir vented
| STERILITY |  |  | Gas exhaust unobstructed
| Components checked for | [9 empty] | ANTICOAGULATION
| package integrity/expiration date |  |  | LINES/PUMP TUBING | [6 empty] | Heparin time and dose verified
| Heat exchanger(s) leak-tested |  |  | Connections secure | [6 empty] | Anticoagulation tested and
|  |  |  | Tubing direction traced and correct | [6 empty] | reported
| PUMP |  |  | No kinks noted
| Speed controls operational |  |  | One-way valve(s) in correct direction | [6 empty] | SUPPLIES
| Roller heads smooth and quiet |  |  | De-bubbled / leak-free | [6 empty] | Tubing clamps available
| Occlusions set |  |  | Patency of arterial line / cannula verified | [6 empty] | Drugs available and properly labeled
| Flow meter in correct direction / calibrated | [9 empty] | Solutions available
| Flow rate indicator correct for patient |  |  | MONITORING | [6 empty] | Blood available
| and/or tubing size |  |  | Temperature probes in place and | [6 empty] | Sampling syringes / lab tubes available
| Holders secure |  |  | calibrated
|  |  |  | Pump pressure monitors calibrated | [6 empty] | BACK-UP
| CARDIOPLEGIA |  |  | In-line amd/or on-line sensors calibrated | [6 empty] | Hand cranks available
| Solution checked for composition/exp date |  |  | Oxygen analyzer calibrated | [6 empty] | Emergency lighting available
| System de-bubbled / leak-free | [9 empty] | Duplicate circuit components
|  |  |  | ELECTRICAL | [6 empty] | available
| TEMPERATURE CONTROL |  |  | Power cord(s) securely connected
| Water source connected and functional | [6 empty] | Signature:
Time